## Result_office
【Office】
[6 empty] | ■Manual： | CASBEE for Market Promotion 【Office】2014 Edition |  |  | ｖ2.1
Building Outline
Building name | XX Building |  |  |  | Site area | 9000 | m2 | Assessment phase | Operation phase |  | Major categories | adequacy
Location | XXXXXX, XX City, XX Prefecture |  |  |  | Building area | 8500 | m2 | Date of assessment | 20XX/XX/XX |  | 1. Energy Use/GHG Emissions | 80.56%
Land use zone | Commercial zone, fire-prevention district |  |  |  | Gross floor area | 50000 | m2 | Assessed by | XXX |  | 2. Water Use | 70%
Building type | Office |  |  |  | Number of floors | + XX F |  | CASBEE-MP assessor no. |  |  | 3. Materials/Safety | 75%
Completion | 19XX/XX/XX |  |  |  | Structure | Reinforced concrete |  | Date of approval | 20XX/XX/XX |  | 4. Biodiversity/Land Use | 70%
Date of recent major renovation |  |  | 20XX/XX/XX |  | Average occupancy | XXX | person | Approved by | XXX |  | 5. Indoor Environment | 75.56%
[5 empty] | Annual hours of use | XXX | hrs/yr | CASBEE-MP assessor no.
Assessment results
[8 empty] | Rank S ; ★★★★★ | >= | 78 | Red star | stars
76.3333 | /100 | Total | [5 empty] | Rank A ; ★★★★ | >= | 66 | 4 | 1
(pts scored | / max.) | [6 empty] | Rank B+; ★★★ | >= | 60
[8 empty] | Rank B ; ★★ | >= | 50 | yes
Points shown to one decimal place | [10 empty] | no
1. Energy Use/GHG Emissions
Compliant | Maximum points | [6 empty] | Indicator (* = ref. data) | value |  | GFA | Gross floor area >=30,000m2 | subject |  |  |  |  | GFA | Gross floor area < 10,000m2 | 10,000m2 =< Gloss floor area < 30,000m2 | Gross floor area >=30,000m2
yes |  | Prerequisite |  | ;Compliance with energy conservation standards, target setting, monitoring, operations management system | [6 empty] | 0 | 1 | 0 |  |  |  |  | 0 | 12 | 3 | 1
Score |  |  | justification | PAL and CEC results were unsatisfactory. Checked the measured annual intensities and compared with the benchmarks. The energy-saving target was jointly set with the tenants |  |  |  | Primary energy (target) | 1850 | MJ/m2-yr | 200 | 1 | 0 |  |  |  |  | 200 | 41 | 1 | 1
1 | + 1 pt | [9 empty] | 400 | 3 | 0 |  |  |  |  | 400 | 59 | 3 | 3
[11 empty] | 600 | 5 | 0 |  |  |  |  | 600 | 77 | 5 | 5
20 | 25 | 1.1 | Energy intensity/carbon intensity (calculated) | [7 empty] | 800 | 8 | 0 |  | レベル | 一次ｴﾈﾙｷﾞｰ |  | 800 | 146 | 23 | 8
|  |  |  | Energy consumption of air conditioning, lighting, ventilation, hot water supply and elevators. Secondary energy values are for reference |  |  |  | Primary energy (planned) | 1554 | MJ/m2-yr | 1000 | 8 | 0 |  |  | 消費原単位 |  | 1000 | 215 | 38 | 8
[8 empty] | Secondary energy (*) | 159 | kWh/m2-yr | 1200 | 12 | 0 |  | レベル１ |  |  | 1200 | 232 | 64 | 12
[8 empty] | Carbon intensity (*) | 68 | kg-CO2/m2-yr | 1400 | 13 | 0 |  | レベル２ |  |  | 1400 | 217 | 88 | 13
3 | 5 | 1.2 | Energy intensity/carbon intensity (measured) | [7 empty] | 1600 | 21 | 0 |  | レベル３ |  |  | 1600 | 157 | 88 | 21
|  |  |  | Total energy consumption of the entire building Data centers located on two floors out of 10 |  |  |  | Primary energy (measured) | 2031 | MJ/m2-yr | 1800 | 32 | 0 |  | レベル４ |  |  | 1800 | 133 | 70 | 32
[8 empty] | Secondary energy (*) | 208 | kWh/m2-yr | 2000 | 38 | 38 |  | レベル５ |  |  | 2000 | 78 | 51 | 38
[8 empty] | Carbon intensity (*) | 89 | kg-CO2/m2-yr | 2200 | 31 | 0 |  |  |  |  | 2200 | 62 | 52 | 31
5 | 5 | 1.3 | Natural energy | [7 empty] | 2400 | 27 | 0 |  |  |  |  | 2400 | 46 | 32 | 27
|  |  |  | Photovoltaic power generation: output 100 kW (12%) |  |  |  | Rate of utilization | 12 | % | 2600 | 17 | 0 |  |  |  |  | 2600 | 27 | 19 | 17
[11 empty] | 2800 | 17 | 0 |  |  |  |  | 2800 | 23 | 24 | 17
29 | 36 | Subtotal | [8 empty] | 3000 | 6 | 0 |  |  |  |  | 3000 | 17 | 16 | 6
[11 empty] | 3200 | 7 | 0 |  |  |  |  | 3200 | 12 | 7 | 7
2. Water Use | [10 empty] | 3400 | 11 | 0 |  |  |  |  | 3400 | 10 | 8 | 11
Compliant | Maximum points | [6 empty] | Indicator | value |  | 3600 | 3 | 0 |  |  |  |  | 3600 | 11 | 5 | 3
yes |  | Prerequisite |  | ；Target setting, monitoring, operations management system | [6 empty] | 3800 | 6 | 0 |  |  |  |  | 3800 | 4 | 4 | 6
Score |  |  | justification | Checked the measured water consumption |  |  |  | Water consumption (target) | 680 | L/m2-yr | 4000 | 4 | 0 |  |  |  |  | 4000 | 6 | 5 | 4
[11 empty] | 4200 | 2 | 0 |  |  |  |  | 4200 | 9 | 5 | 2
4 | 5 | 2.1 | Water intensity (calculated) | [7 empty] | 4400 | 2 | 0 |  |  |  |  | 4400 | 3 | 2 | 2
|  |  |  | Including the use of rain water |  |  |  | Water intensity (planned) | 680 | L/m2-yr | 4600 | 2 | 0 |  |  |  |  | 4600 | 1 | 1 | 2
[11 empty] | 4800 | 1 | 0 |  |  |  |  | 4800 | 2 | 1 | 1
3 | 5 | 2.2 | Water intensity (measured) | [7 empty] | 5000 | 0 | 0 |  |  |  |  | 5000 | 4
|  |  |  | Including the use of rain water |  |  |  | Water intensity (measured) | 800 | L/m2-yr | 5200 | 0 | 0 |  |  |  |  | 5200
[11 empty] | 5400 | 0 | 0 |  |  |  |  | 5400
7 | 10 | Subtotal | [8 empty] | 0 | 0
3. Materials/Safety
Compliant | Maximum points | [6 empty] | Indicator | value |  | GFA | Water consumption intensity [measured value] (L/m2/yr) | subject
yes |  | Prerequisite |  | ；Compliance with new earthquake resistance standards or Is- and If-values | [6 empty] | 0 | 135 | 0
Score |  |  | justification | Renovation completed to achieve Is-value > 0.6 |  |  |  | none |  |  | 200 | 165 | 0
[11 empty] | 400 | 218 | 0
5 | 5 | 3.1 | High earthquake resistance, seismic isolation, etc. |  |  |  | Based on points of Item [1] or [2], whichever is higher |  |  |  | 600 | 201 | 0 |  | レベル | 一次ｴﾈﾙｷﾞｰ
3 |  | [1] | Earthquake-resistance | In compliance with building standards | [6 empty] | 800 | 173 | 173
5 |  | [2] | Seismic isolation & vibration damping systems | Seismic isolation equipment installed | [6 empty] | 1000 | 131 | 0
[11 empty] | 1200 | 96 | 0 |  | レベル１
2 | 5 | 3.2 | Use of recycled materials |  |  |  | Based on average points of Items [1] and [2] |  |  |  | 1400 | 94 | 0 |  | レベル２
3 |  | [1] | Building frame applications | No specific use of recycled materials | [6 empty] | 1600 | 71 | 0
1 |  | [2] | Non-structural applications | No specific use of recycled materials |  |  | Number of recycled materials (non-structural) |  | 0 | item(s) | 1800 | 64 | 0
[11 empty] | 2000 | 75 | 0 |  | レベル４
5 | 5 | 3.3 | Service life of structural materials | [7 empty] | 2200 | 47 | 0 |  | レベル５
|  |  |  | Equivalent to Class 3 of the housing performance indication system |  |  |  | Service life elapsed plus remaining | 75 | year(s) | 2400 | 36 | 0
[11 empty] | 2600 | 30 | 0
3 | 5 | 3.4 | Ease of MEP equipment renewal/Self-sufficiency improvement of building services/Maintenance |  |  |  | Based on average points of Items [1] to [3] |  |  |  | 2800 | 41 | 0
3 |  | [1] | Main MEP equipment | Renewal planned at 15-year intervals |  |  |  | Average years of renewal interval | 15 | year(s) | 3000 | 29 | 0
4 |  | [2] | Building services systems (power, etc.) | Generator to be used to supply power in case of emergency (for 24 hours); photovoltaic power generation |  |  |  | Number of self-sufficiency measures | 3 | point(s) | 3200 | 37 | 0
2 |  | [3] | Maintenance | Environmental considerations expressly described in facility/maintenance SOP |  |  | Number of maintenance measures |  | 3 | point(s) | 3400 | 30 | 0
[11 empty] | 3600 | 32 | 0
15 | 20 | Subtotal | [8 empty] | 3800 | 27 | 0
[11 empty] | 4000 | 25 | 0
4. Biodiversity/Land Use | [10 empty] | 4200 | 25 | 0 | Characteristics of environment efficiency
Compliant | Maximum points | [6 empty] | Indicator | value |  | 4400 | 13 | 0
yes |  | Prerequisite |  | ；No alien or invasive fauna and flora used (specified, unclassified, and caution required) | [6 empty] | 4600 | 14 | 0 | -Due to the energy saving performance of the building and energy saving attempts in operation, high points are obtained in Energy Use/GHG Emissions. - Due to frequent and detailed maintenance, renewal intervals exceed the statutory service life, achieving high points in assessment items of Materials/Safety. -Measured water consumption exceeds the expected consumption value based on the facility specifications and the number of people in the building. Further efforts to reduce consumption is recommended. - Due to the excellent accessibility to public transport services and a low risk of natural disasters, high points are obtained in assessment items of Biodiversity/Land Use. -Due to the large aperture and natural ventilation areas, high points are obtained in Indoor Environment.
Score |  |  | justification | Compliance with the Invasive Alien Species Act (planting, importing, etc.) and suggestions by MOE (regarding alien species which require caution when handling) |  |  |  | none |  |  | 4800 | 12 | 0
[11 empty] | 5000 | 7 | 0
3 | 5 | 4.1 | Creation and preservation of biodiversity | [7 empty] | 5200 | 83 | 0
(Points doubled when Item 4.2 is not applicable) |  |  |  | Vegetation plan developed with consideration of natural vegetation in surrounding area |  |  |  | Point(s) based on list of initiatives (2) | 1 | point(s)
4 | 5 | 4.2 | Soil environmental quality/regeneration of brownfield sites
(Not applicable when no measure is required) |  |  |  | Conducting legal survey, filing application for land character change, preventing proliferation, and removing pollutants |  |  |  | none
3 | 5 | 4.3 | Public transportation accessibility
|  |  |  | 10 minute walk from the train station |  |  |  | none
4 | 5 | 4.4 | Natural disaster risk prevention
|  |  |  | No risk of liquefaction, tsunami, earth fissure or lightning strike. Effective countermeasures against risk of flood or seismic movement in place. |  |  |  | Total number of risks | 2 | type(s)
14 | 20 | Subtotal
5. Indoor Environment
Compliant | Maximum points | [6 empty] | Indicator | value
yes |  | Prerequisite |  | ；Compliance with the Sanitation Management Standards for Building or questionnaire
|  |  | justification | Retention of compliance records pertaining to the Sanitation Management. Standards are met. |  |  |  | none
Score
3.3333 | 5 | 5.1 | Daylighting |  |  |  | [(Item [1] pt(s) x 2/3) + (Item [2] pt(s) x 1/3)] | [6 empty] | Name of evaluation agency/Name of assessor
3 |  | [1] | Use of natural light | Window ratio of 14% |  |  |  | Window ratio | 14 | %
4 |  | [2] | Daylight devices | Light shelf system installed |  |  |  | Number of daylight devices | 1 | type(s)
4 | 5 | 5.2 | Natural ventilation performance
Available opening area 1/25 of the floor space of a room
4 | 5 | 5.3 | Perceived space and access to view | [10 empty] | Name of certification authority
|  |  |  | Windows in place offering all occupants sufficient view of outside |  |  |  | Height of ceiling | 2 | m and higher
11.3333 | 15 | Subtotal
[10 empty] | XX Building | [6 empty] | XX Building
Note on L29: Enter measured value if assessment based on measured record is applied.
Note on C85: Enter "0" if efforts are not necessary.

## Water calc._office
Calculation of water consumption of office buildings
Notes;
|  |  |  | ：Required data |  |  |  | Enter values in cells with red borders.
|  |  |  | ：Defined value according to references |  |  |  | Default values are for example only. Delete all values first before entering actual data.
：Calculated value
* Water consumption for watering and for cooling tower of HVAC is excluded from the calculation.
1) | Permanent employees |  | 2200 | persons
2) | Gross floor area |  | 30000 | m2
3) | Male-to-female ratio | Male | 70 | % | Female | 30 | %
|  | Male | 1540 | persons | Female | 660 | persons
4) | Calculation of water consumption
[1] Toilets/wash basins/hot water supply used by permanent employees
| Amount of water discharge from sanitation fixtures |  |  |  | Frequency of use of fixtures*1) |  | Duration of stay |  | Number of users
|  | Men's toilets | 8 | L/flush * | 0.42 | times/day * | 1540 | persons= | 5174.4 | L/day |  |  |  |  | General service water | 1552320
|  | Men's urinals | 4 | L/flush * | 2.88 | times/day * | 1540 | persons= | 17740.8 | L/day |  |  |  |  | General service water | 5322240
|  | Men's wash basins | 2 | L/time * | 3.3 | times/day * | 1540 | persons= | 10164 | L/day |  |  |  |  | portable water | 3049200
|  | Women's toilets | 8 | L/flush * | 2.93 | times/day * | 660 | persons= | 15470.4 | L/day |  |  |  |  | General service water | 4641120
|  | Women's wash basins | 2 | L/flush * | 3.3 | times/day * | 660 | persons= | 4356 | L/day |  |  |  |  | portable water | 1306800
|  | Hot water supply*4) | 2.5 | L/time * | 3 | times/day * | 2200 | persons= | 16500 | L/day (for drinking, dishwashing, etc.) |  |  |  |  | portable water | 4950000
Number of operating days
| * Use frequency for wash basins: Men's toilets + urinals, Same for women's toilets | [6 empty] | subtotal | 69405.6 | L/day * | 300 | day/yr= | 20821680 | L/yr | subtotal | 20821680
[8 empty] | ( | 31.548 | L/person-day) |  | ( | 694.056 | L/m2-yr)
[2] Cleaning of fixtures
|  |  | Gross floor area |  | Intensity of the number of sanitation fixtures*2) |  | Number of fixtures
|  | Toilets | 30000 | m2 * | 0.0047 | /m2= | 141 | fixture(s)
|  | Urinals | 30000 | m2 * | 0.0025 | /m2= | 75 | fixture(s)
|  | Wash basins | 30000 | m2 * | 0.0047 | /m2= | 141 | fixture(s)
|  | Number of fixtures |  | Amount of water discharge from sanitation fixtures |  |  | Use frequency
|  | Toilets | 141 | fixtures * | 8 | L/flush * | 3 | times/day= | 3384 | L/day |  |  |  |  | General service water | 812160
|  | Urinals | 75 | fixtures * | 4 | L/flush * | 3 | times/day= | 900 | L/day |  |  |  |  | General service water | 216000
|  | Wash basins | 141 | fixtures * | 2 | L/time * | 3 | times/day= | 846 | L/day | Number of operating days |  |  |  | portable water | 203040
[8 empty] | subtotal | 5130 | L/day * | 240 | day/yr= | 1231200 | L/yr | subtotal | 1231200 | 41.7668 | L/person-day
| [3] Cafeteria |  |  |  | Water consumption per meal*3) |  | Number of meals |  |  |  | Number of operating days
[5 empty] | 35 | L/meal-day* | 800 | meals = | 28000 | L/day * | 240 | day/yr= | 6720000 | L/yr | portable water | 6720000
5) Collective water consumption
[12 empty] | portable water | 16229040 | L/yr | [1]
[12 empty] | General service water | 12543840 | L/yr | [2]
[12 empty] | Total (Entire building) | 28772880 | L/yr | [3]=[1]+[2] |  | 54.4941 | L/person-day
[12 empty] | ( | 959.096 | L/m2-yr)
6) | Reduction in the potable water usage by the reuse of rain water and gray water
| Rate of substitution for potable water or |  |  |  |  | 20 | % |  |  |  |  | Amount of reused water | 5754576 | L/yr | [4]=[3]* %
| reuse rate by the reuse of rain water and gray water | [10 empty] | Upper limit check | 5754576 | L/yr | [5]: [4] must be less than [2]
(Ratio to the total water consumption)
[12 empty] | portable water | 16229040 | L/yr | [1]
[12 empty] | General service water (supplement to potable water) | 6789264 | L/yr | [6]: [2]-[5]
[12 empty] | Total | 23018304 | L/yr
[12 empty] | ( | 767.2768 | L/m2-yr)
Source)
1) Committee on Sanitary fixtures for Water Supply and Drainage for Buildings/Sub-Committee on Design Data Review, the Society of Heating, Air-Conditioning and Sanitary Engineers of Japan,
"Method for calculating water consumption based on water use activities (Proposal on a new design for water supply intensity)", Symposium materials, p.48, Table 3.3.2 "Workplace" (Times/h)
2) Ditto, p.60, Table 3.4.26,
3) Ditto, p.35, Table 2.3.1, Minimum value of cafeteria is referred.
4) Fumitoshi Kiya, "Hygienics of water supply/drainage fixtures", Intermediate level, Water section practice, TOTO, p.60, Table 3, Remarks column "Hot water supply"
5) Tadakatsu Takasaki, "Analisys of long term flow charactristics of Nogawa river basin," Annual report 2007 of Tokyo metroporitan civil engneering center, C.E.C, TMG, 2007.3, ISSN 1882-2657
Technical resarch devision

## Result_retail
【Retail】
[6 empty] | ■Manual： | CASBEE for Market Promotion 【Retail】2014 Edition |  |  | ｖ2.1
Building Outline
Building name | XX shopping center |  |  |  | Site area |  | m2 | Assessment phase |  |  | 項目 | 充足率
Location |  |  |  |  | Building area |  | m2 | Date of assessment | 20XX/XX/XX |  | 1. Energy Use/GHG Emissions | 0%
Land use zone |  |  |  |  | Gross floor area |  | m2 | Assessed by |  |  | 2. Water Use | 0%
Building type |  |  |  |  | Number of floors |  |  | CASBEE-MP assessor no. |  |  | 3. Materials/Safety | 0%
Completion |  |  |  |  | Structure |  |  | Date of approval | 20XX/XX/XX |  | 4. Biodiversity/Land Use | 0%
Date of recent major renovation |  |  |  |  | Average occupancy | XXX, XXX | person | Approved by |  |  | 5. Indoor Environment | 0%
[5 empty] | Annual hours of use | XXX | hrs/yr | CASBEE-MP assessor no.
Assessment results
[8 empty] | Rank S ; ★★★★★ | >= | 78 | 赤星 | 点星
0 | /100 | Total | [5 empty] | Rank A ; ★★★★ | >= | 66 | 0 | 5
(pts scored | / max.) | [6 empty] | Rank B+; ★★★ | >= | 60
[8 empty] | Rank B ; ★★ | >= | 50 | yes
Points shown to one decimal place | [10 empty] | no
1. Energy Use/GHG Emissions
Compliant | Maximum points | [6 empty] | Indicator (* = ref. data) | value |  | 延床面積 | 10,000㎡未満 | 評価建物 |  |  | 延床面積 | 10,000㎡未満 | 10,000m2以上30,000m2未満 | 30,000m2以上
yes |  | Prerequisite |  | ;Compliance with energy conservation standards, target setting, monitoring, operations management system | [6 empty] | 0 | 3 | 3 |  |  | 0 | 3 | 0 | 0
Score |  |  | justification |  |  |  |  | Primary energy (target) |  | MJ/m2-yr | 200 | 40 | 0 |  |  | 200 | 40 | 1 | 0
| + 1 pt | [9 empty] | 400 | 70 | 0 |  |  | 400 | 70 | 1 | 1
[11 empty] | 600 | 112 | 0 |  |  | 600 | 112 | 3 | 3
| 25 | 1.1 | Energy intensity/carbon intensity (calculated) | [7 empty] | 800 | 198 | 0 |  |  | 800 | 198 | 4 | 3
[8 empty] | Primary energy (planned) |  | MJ/m2-yr | 1000 | 274 | 0 |  |  | 1000 | 274 | 16 | 5
[8 empty] | Secondary energy (*) |  | kWh/m2-yr | 1200 | 364 | 0 |  |  | 1200 | 364 | 21 | 4
[8 empty] | Carbon intensity (*) |  | kg-CO2/m2-yr | 1400 | 377 | 0 |  |  | 1400 | 377 | 48 | 4
| 5 | 1.2 | Energy intensity/carbon intensity (measured) | [7 empty] | 1600 | 334 | 0 |  |  | 1600 | 334 | 65 | 10
[8 empty] | Primary energy (measured) |  | MJ/m2-yr | 1800 | 278 | 0 |  |  | 1800 | 278 | 83 | 12
[8 empty] | Secondary energy (*) |  | kWh/m2-yr | 2000 | 228 | 0 |  |  | 2000 | 228 | 62 | 28
[8 empty] | Carbon intensity (*) |  | kg-CO2/m2-yr | 2200 | 178 | 0 |  |  | 2200 | 178 | 49 | 33
| 5 | 1.3 | Natural energy | [7 empty] | 2400 | 144 | 0 |  |  | 2400 | 144 | 46 | 25
[8 empty] | Rate of utilization |  | % | 2600 | 95 | 0 |  |  | 2600 | 95 | 30 | 33
[11 empty] | 2800 | 83 | 0 |  |  | 2800 | 83 | 22 | 19
0 | 36 | Subtotal | [8 empty] | 3000 | 53 | 0 |  |  | 3000 | 53 | 24 | 19
[11 empty] | 3200 | 37 | 0 |  |  | 3200 | 37 | 11 | 8
2. Water Use | [10 empty] | 3400 | 35 | 0 |  |  | 3400 | 35 | 8 | 6
Compliant | Maximum points | [6 empty] | Indicator | value |  | 3600 | 15 | 0 |  |  | 3600 | 15 | 6 | 9
yes |  | Prerequisite |  | ；Target setting, monitoring, operations management system | [6 empty] | 3800 | 9 | 0 |  |  | 3800 | 9 | 3 | 3
Score |  |  | justification |  |  |  |  | Water consumption (target) |  | L/m2-yr | 4000 | 9 | 0 |  |  | 4000 | 9 | 4 | 1
[11 empty] | 4200 | 7 | 0 |  |  | 4200 | 7 | 3 | 3
| 5 | 2.1 | Water intensity (calculated) | [7 empty] | 4400 | 1 | 0 |  |  | 4400 | 1 | 1 | 0
[8 empty] | Water intensity (planned) |  | L/m2-yr | 4600 | 3 | 0 |  |  | 4600 | 3 | 0 | 1
[11 empty] | 4800 | 1 | 0 |  |  | 4800 | 1 | 0 | 3
| 5 | 2.2 | Water intensity (measured) | [7 empty] | 5000 | 1 | 0 |  |  | 5000 | 1 | 0 | 0
[8 empty] | Water intensity (measured) |  | L/m2-yr | 5200 | 1 | 0 |  |  | 5200 | 1 | 0 | 1
[11 empty] | 5400 | 1 | 0 |  |  | 5400 | 1 | 1 | 0
0 | 10 | Subtotal | [8 empty] | 0 | 0
3. Materials/Safety
Compliant | Maximum points | [6 empty] | Indicator | value |  | 延床面積 | 水消費量[実績値](L/㎡・年) | 評価建物
yes |  | Prerequisite |  | ；Compliance with new earthquake resistance standards or Is- and If-values | [6 empty] | 0 | 99 | 99
Score |  |  | justification |  |  |  |  | none |  |  | 200 | 358 | 0
[11 empty] | 400 | 546 | 0
0 | 5 | 3.1 | High earthquake resistance, seismic isolation, etc. |  |  |  | Based on points of Item [1] or [2], whichever is higher |  |  |  | 600 | 561 | 0
|  | [1] | Earthquake-resistance | [7 empty] | 800 | 376 | 0
|  | [2] | Seismic isolation & vibration damping systems | [7 empty] | 1000 | 269 | 0
[11 empty] | 1200 | 138 | 0
0 | 10 | 3.2 | Use of recycled materials/ Control of waste disposal load |  |  |  | Max. 5 pts for use of recycled materials plus Max. 5 pts for waste control |  |  |  | 1400 | 71 | 0
|  | [1] | Building frame applications |  |  |  | Based on average points of Items [1] and [2] |  |  |  | 1600 | 57 | 0
|  | [2] | Non-structural applications |  |  |  | Number of recycled materials (non-structural) |  |  | item(s) | 1800 | 26 | 0
|  | Control of waste disposal load | [7 empty] | point(s)
[11 empty] | 2000 | 20 | 0
| 5 | 3.3 | Service life of structural materials | [7 empty] | 2200 | 14 | 0
[8 empty] | Service life elapsed plus remaining |  | year(s) | 2400 | 12 | 0
[11 empty] | 2600 | 13 | 0
0 | 5 | 3.4 | Ease of MEP equipment renewal/Self-sufficiency improvement of building services/Maintenance |  |  |  | Based on average points of Items [1] to [3] |  |  |  | 2800 | 13 | 0
|  | [1] | Main MEP equipment |  |  |  |  | Average years of renewal interval |  | year(s) | 3000 | 2 | 0
|  | [2] | Building services systems (power, etc.) |  |  |  |  | Number of self-sufficiency measures |  | point(s) | 3200 | 5 | 0
|  | [3] | Maintenance |  |  |  | Number of maintenance measures |  |  | point(s) | 3400 | 3 | 0
[11 empty] | 3600 | 2 | 0
0 | 25 | Subtotal | [8 empty] | 3800 | 2 | 0
[11 empty] | 4000 | 0 | 0
4. Biodiversity/Land Use | [10 empty] | 4200 | 2 | 0 | Characteristics of environment efficiency
Compliant | Maximum points | [6 empty] | Indicator | value |  | 4400 | 3 | 0
yes |  | Prerequisite |  | ；No alien or invasive fauna and flora used (specified, unclassified, and caution required) | [6 empty] | 4600 | 2 | 0
Score |  |  | justification |  |  |  |  | none |  |  | 4800 | 2 | 0
[11 empty] | 5000 | 2 | 0
| 5 | 4.1 | Creation and preservation of biodiversity | [7 empty] | 5200 | 31 | 0
(Points doubled when Item 4.2 is not applicable) | [7 empty] | Point(s) based on list of initiatives (2) |  | point(s)
| 5 | 4.2 | Soil environmental quality/regeneration of brownfield sites
(Not applicable when no measure is required) | [7 empty] | none
| 5 | 4.3 | Public transportation accessibility
none
| 5 | 4.4 | Natural disaster risk prevention
[8 empty] | Total number of risks |  | type(s)
0 | 20 | Subtotal
5. Indoor Environment
Compliant | Maximum points | [6 empty] | Indicator | value
yes |  | Prerequisite |  | ；Compliance with the Sanitation Management Standards for Building or questionnaire
|  |  | justification |  |  |  |  | none
Score
0 | 4 | 5.1 | Daylighting |  |  |  | [(Item [1] pt(s) x 2/3) + (Item [2] pt(s) x 1/3)] | [6 empty] | Name of evaluation agency/Name of assessor
|  | [1] | Use of natural light |  |  |  |  | Window ratio |  | %
|  | [2] | Daylight devices |  |  |  |  | Number of daylight devices |  | type(s)
| 4 | 5.2 | Natural ventilation performance
| 2 | 5.3 | Perceived space and access to view | [10 empty] | Name of certification authority
[8 empty] | Height of ceiling |  | m and higher
0 | 10 | Subtotal
[10 empty] | XX shopping center |  |  |  |  | XX shopping center
Note on L29: Enter measured value if assessment based on measured record is applied.
Note on C86: Enter "0" if efforts are not necessary.

## Water calc._retail
Calculation of water consumption of store buildings | [21 empty] | 2014-05-20
Notes;
|  |  |  | ：Required data |  |  |  | Enter values in cells with red borders.
|  |  |  | ：Defined value according to references |  |  |  | Default values are for example only. Delete all values first before entering actual data.
：Calculated value
* Water consumption for watering and for cooling tower of HVAC is excluded from the calculation.
1) | Permanent employees |  | 100 | persons
| Visitors |  | 2000 | persons
2) | Gross floor area |  | 30000 | m2 (excluding car parks)
3) | Opening days |  | 320 | day
4) | Male-to-female ratio | Male | 70 | % | Female | 30 | %
| (Permanent employees) | Male | 70 | persons | Female | 30 | persons
| Male-to-female ratio | Male | 70 | % | Female | 30 | %
| (Visitors) | Male | 1400 | persons | Female | 600 | persons
5) | Calculation of water consumption
[1] Toilets/wash basins/hot water supply used by permanent employees
| Amount of water discharge from sanitation fixtures |  |  |  | Frequency of use of fixtures*1) |  | Duration of stay |  | Number of users
|  | Men's toilets | 8 | L/flush * | 0.047 | times/h * | 12 | h * | 70 | persons= | 315.84 | L/day |  |  |  |  | General service water | 101068.8
|  | Men's urinals | 4 | L/flush * | 0.32 | times/h * | 12 | h * | 70 | persons= | 1075.2 | L/day |  |  |  |  | General service water | 344064
|  | Men's wash basins | 2 | L/time * | 0.367 | times/h * | 12 | h * | 70 | persons= | 616.56 | L/day |  |  |  |  | portable water | 197299.2
|  | Women's toilets | 8 | L/flush * | 0.326 | times/h * | 12 | h * | 30 | persons= | 938.88 | L/day |  |  |  |  | General service water | 300441.6
|  | Women's wash basins | 2 | L/flush * | 0.326 | times/h * | 12 | h * | 30 | persons= | 234.72 | L/day |  |  |  |  | portable water | 75110.4
|  | Hot water supply*4) | 2.5 | L/time * | 3 | times/day * |  |  | 100 | persons= | 750 | L/day (for drinking, dishwashing, etc.) |  |  |  |  | portable water | 240000
Number of operating days
|  | * Use frequency for wash basins: Men's toilets + urinals, Same for women's toilets | [7 empty] | subtotal | 3931.2 | L/day * | 320 | day/yr= | 1257984 | L/yr | subtotal | 1257984 | [1] | 39.312 | L/person-day
[10 empty] | ( | 39.312 | L/person-day) |  | ( | 41.9328 | L/m2-yr)
[2] Toilets/wash basins used by visitors
| Amount of water discharge from sanitation fixtures |  |  |  | Frequency of use of fixtures*1) |  | Duration of stay |  | Number of users
|  | Men's toilets | 8 | L/flush * | 0.047 | times/h * | 2 | h * | 1400 | persons= | 1052.8 | L/day |  |  |  |  | General service water | 336896
|  | Men's urinals | 4 | L/flush * | 0.32 | times/h * | 2 | h * | 1400 | persons= | 3584 | L/day |  |  |  |  | General service water | 1146880
|  | Men's wash basins | 2 | L/time * | 0.367 | times/h * | 2 | h * | 1400 | persons= | 2055.2 | L/day |  |  |  |  | portable water | 657664
|  | Women's toilets | 8 | L/flush * | 0.326 | times/h * | 2 | h * | 600 | persons= | 3129.6 | L/day |  |  |  |  | General service water | 1001472
|  | Women's wash basins | 2 | L/flush * | 0.326 | times/h * | 2 | h * | 600 | persons= | 782.4 | L/day |  |  |  |  | portable water | 250368
Number of operating days
|  | * Use frequency for wash basins: Men's toilets + urinals, Same for women's toilets | [7 empty] | subtotal | 10604 | L/day * | 320 | day/yr= | 3393280 | L/yr | subtotal | 3393280 | [2] | 5.302 | L/person-day
[10 empty] | ( | 106.04 | L/person-day) |  | ( | 113.1093 | L/m2-yr)
[3] Cleaning of fixtures
|  |  | Gross floor area |  | Intensity of the number of sanitation fixtures*2) |  | Number of fixtures
|  | Toilets | 30000 | m2 * | 0.0023 | /m2= | 69 | fixture(s)
|  | Urinals | 30000 | m2 * | 0.0011 | /m2= | 33 | fixture(s)
|  | Wash basins | 30000 | m2 * | 0.0024 | /m2= | 72 | fixture(s)
|  | Number of fixtures |  | Amount of water discharge from sanitation fixtures |  |  | Use frequency
|  | Toilets | 69 | fixtures * | 8 | L/flush * | 6 | times/day= | 3312 | L/day | [6 empty] | General service water | 1059840
|  | Urinals | 33 | fixtures * | 4 | L/flush * | 6 | times/day= | 792 | L/day | [6 empty] | General service water | 253440
|  | Wash basins | 72 | fixtures * | 2 | L/time * | 6 | times/day= | 864 | L/day | Number of operating days | [5 empty] | portable water | 276480 |  | [1]+[2]+[3]
[8 empty] | subtotal | 4968 | L/day * | 320 | day/yr= | 1589760 | L/yr |  |  | subtotal | 1589760 | [3] | 9.2872 | L/person-day
| [4] Restaurants |  | Water consumption per customer*3) |  |  |  | Number of customers* |  |  |  | Opening days
|  |  | Cafe/light meal |  | 15 | L/person-day * | 100 | persons= | 1500 | L/day | 320 | day/yr= | 480000 | L/yr |  |  | portable water | 480000
|  |  | Chinese/noodles/barbecue |  | 30 | L/person-day * | 100 | persons= | 3000 | L/day | 320 | day/yr= | 960000 | L/yr |  |  | portable water | 960000
|  |  | Japanese food |  | 70 | L/person-day * | 100 | persons= | 7000 | L/day | 320 | day/yr= | 2240000 | L/yr |  |  | portable water | 2240000
|  |  | Western food |  | 50 | L/person-day * | 100 | persons= | 5000 | L/day | 320 | day/yr= | 1600000 | L/yr |  |  | portable water | 1600000
[6 empty] | subtotal | 400 | persons | [8 empty] | subtotal | 5280000 | [4] | 41.25 | L/customer-day
* When the number of customers is unavailable, the projected value of Number of customer seats × Turnover number may be entered instead.
6) Collective water consumption
[12 empty] | portable water | 6976921.6 | L/yr | [1]
[12 empty] | General service water | 4544102.4 | L/yr | [2] |  |  |  | proof
[12 empty] | Total (Entire building) | 11521024 | L/yr | [3]=[1]+[2] |  |  | 11521024 | [1]+[2]+[3]+[4] | 17.1444 | L/person-day
[12 empty] | ( | 384.0341 | L/m2-yr)
7) | Reduction in the potable water usage by the reuse of rain water and gray water
| Rate of substitution for potable water or |  |  |  |  | 20 | % |  |  |  |  | Amount of reused water | 2304204.8 | L/yr | [4]=[3]* %
| reuse rate by the reuse of rain water and gray water | [10 empty] | Upper limit check | 2304204.8 | L/yr | [5]: [4] must be less than [2]
(Ratio to the total water consumption)
[12 empty] | portable water | 6976921.6 | L/yr | [1]
[12 empty] | General service water (supplement to potable water) | 2239897.6 | L/yr | [6]: [2]-[5]
[12 empty] | Total (Potable water) | 9216819.2 | L/yr
[12 empty] | ( | 307.2273 | L/m2-yr)
Source)
1) Committee on Sanitary fixtures for Water Supply and Drainage for Buildings/Sub-Committee on Design Data Review, the Society of Heating, Air-Conditioning and Sanitary Engineers of Japan,
"Method for calculating water consumption based on water use activities (Proposal on a new design for water supply intensity)", Symposium materials, p.48, Table 3.3.2 "Workplace" (Times/h)
2) Ditto, p.60, Table 3.4.26, Figures provided in "Department stores "are referred
3) Ditto, p.25, Table 2.2.9-9 to 14, The mean value of individual catering purposes is cited
4) Fumitoshi Kiya, "Hygienics of water supply/drainage fixtures", Intermediate level, Water section practice, TOTO, p.60, Table 3, Remarks column "Hot water supply"

## Score calc._retail(1)
【Supplimentary Worksheet to calucrate weighted average for comercial building】
This sheet assists to calculate weighted average of scores for a commercial building containing several business categories.
Use sheet [1] or [2] depending on available data.
[1] In cases when actual figures in individual business categories are available in the assessment of energy and water
Enter in light-blue cells.
Transcribe figures that appear in green cells to the assessment score column of the Store Assessment Result Sheet.
|  |  |  | (1) Retail Stores | (2) Restaurants | (3) Department stores/ Supermarkets | (4) Home electronics mass retailers | (5) Convenience Stores | (6) Office area of stores | (7) Others (deemed equivalent to retail stores) |  | Total
| Composition ratio (excluding car park) |  | Gross floor area |  | 3000 |  |  | 5000 |  |  |  | 8000 | ←Enter the floor space of each purpose
|  |  | Composition | 0 | 0.375 | 0 | 0 | 0.625 | 0 | 0 |  | 1
1. Energy Use/GHG Emissions
* In cases when C/S is obtained based on the BEI calculated according to the energy conservation standards revised in 2013, the entry of 1.1 (calculated value) below is unnecessary.
| 1.1 | Energy intensity/carbon intensity (calculated) | 0 | [7 empty] | ←Enter the assessment result (15-25 points) by business type
| 1.2 | Energy intensity/carbon intensity (measured) | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type
Standard boundary value of primary energy consumption (by store category) Unit: MJ/m2-yr
|  |  | 25% point | 50% point | 75% point | 90% point | Subject
|  | (1) Retail Stores | 1538 | 2251 | 3227 | 4273 |  | ←Enter the actual primary energy consumption value (MJ/m2-yr) by business type
|  | (2) Restaurants | 10505 | 15682 | 23969 | 32591
|  | (3) Department stores/ Supermarkets (by scale) | 6250 | 7510 | 8870 | 10450 | 9502
|  | (4) Home electronics mass retailers | 2312 | 2729 | 3551 | 4262
|  | (5) Convenience Stores | 10968 | 12673 | 15686 | 17847
|  | (6) Office area of stores | 1168 | 1506 | 1920 | 2503
|  | (7) Others (deemed equivalent to retail stores) | 1538 | 2251 | 3227 | 4273
2. Water Use
| 2.1 | Water intensity (calculated) | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type
| 2.2 | Water intensity (measured) | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type
Standard boundary value of potable water consumption (by store category) Unit: L/m2-yr
|  |  | 25% point | 50% point | 75% point | 90% point | Subject
|  | (1) Retail Stores | 404 | 1102 | 1731 | 3089 |  | ←Enter the actual water consumption value (L/m2-yr) by business type
|  | (2) Restaurants | 14205 | 21053 | 30404 | 36641
|  | (3) Department stores/ Supermarkets (by scale) | 1267 | 1901 | 2780 | 3800
|  | (4) Home electronics mass retailers | 404 | 1102 | 1731 | 3089
|  | (5) Convenience Stores | 2000 | 2700 | 3750 | 5000
|  | (6) Office area of stores | 490 | 693 | 975 | 1293
|  | (7) Others (deemed equivalent to retail stores) | 404 | 1102 | 1731 | 3089
5. Indoor Environment
| 5.1 | Daylighting | 0
| [1] | Use of natural light | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type
| [2] | Daylight devices |  | ←Enter the assessment result (3-5 points)
| 5.2 | Natural ventilation performance | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type
| 5.3 | Perceived space and access to view | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type

## Score calc._retail(2)
【Supplimentary Worksheet to calucrate weighted average for comercial building】
This sheet assists to calculate weighted average of scores for a commercial building containing several business categories.
Use sheet [1] or [2] depending on available data.
[2] In cases where actual figures in individual business categories are unavailable in the assessment of energy and water
(The measurement was conducted in terms of the entire building only.)
Enter in light-blue cells.
Transcribe figures that appear in green cells to the assessment score column of the Store Assessment Result Sheet.
|  |  |  | (1) Retail Stores | (2) Restaurants | (3) Department stores/ Supermarkets | (4) Home electronics mass retailers | (5) Convenience Stores | (6) Office area of stores | (7) Others (deemed equivalent to retail stores) |  | Total
| Composition ratio (excluding car park) |  | Gross floor area |  | 3000 |  |  | 5000 |  |  |  | 8000 | ←Enter the floor space of each purpose
|  |  | Composition | 0 | 0.375 | 0 | 0 | 0.625 | 0 | 0 |  | 1
1. Energy Use/GHG Emissions
* In cases when C/S is obtained based on the BEI calculated according to the energy conservation standards revised in 2013, the entry of 1.1 (calculated value) below is unnecessary.
| 1.1 | Energy intensity/carbon intensity (calculated) | 23.125 |  | 20 |  |  | 25 |  |  | ←Enter the assessment result (15-25 points) by business type
| 1.2 | Energy intensity/carbon intensity (measured) | * Entry of scores based on measured data are unnecessary in this sheet. Enter the assessment result in the assessment score column of the Store Assessment Result Sheet.
Standard boundary value of primary energy consumption (by store category) Unit: MJ/m2-yr
|  |  | Composition | 25% point | 50% point | 75% point | 90% point | Subject
|  | (1) Retail Stores | 0 | 1538 | 2251 | 3227 | 4273
|  | (2) Restaurants | 0.375 | 10505 | 15682 | 23969 | 32591
|  | (3) Department stores/ Supermarkets (by scale) | 0 | 6250 | 7510 | 8870 | 10450
|  | (4) Home electronics mass retailers | 0 | 2312 | 2729 | 3551 | 4262
|  | (5) Convenience Stores | 0.625 | 10968 | 12673 | 15686 | 17847
|  | (6) Office area of stores | 0 | 1168 | 1506 | 1920 | 2503
|  | (7) Others (deemed equivalent to retail stores) | 0 | 1538 | 2251 | 3227 | 4273
|  | Subject store (except car parks) |  | 10794.375 | 13801.375 | 18792.125 | 23376 | 22500 | ←Enter the measured primary energy consumption value (MJ/m2-yr) of the entire store.
2. Water Use
| 2.1 | Water intensity (calculated) | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type
| 2.2 | Water intensity (measured) | * Entry of scores based on measured data are unnecessary in this sheet. Enter the assessment result in the assessment score column of the Store Assessment Result Sheet.
Standard boundary value of potable water consumption (by store category) Unit: L/m2-yr
|  |  | Composition | 25% point | 50% point | 75% point | 90% point | Subject
|  | (1) Retail Stores | 0 | 404 | 1102 | 1731 | 3089
|  | (2) Restaurants | 0.375 | 14205 | 21053 | 30404 | 36641
|  | (3) Department stores/ Supermarkets (by scale) | 0 | 1267 | 1901 | 2780 | 3800
|  | (4) Home electronics mass retailers | 0 | 404 | 1102 | 1731 | 3089
|  | (5) Convenience Stores | 0.625 | 2000 | 2700 | 3750 | 5000
|  | (6) Office area of stores | 0 | 490 | 693 | 975 | 1293
|  | (7) Others (deemed equivalent to retail stores) | 0 | 404 | 1102 | 1731 | 3089
|  | Subject store (except car parks) |  | 6576.875 | 9582.375 | 13745.25 | 16865.375 |  | ←Enter the measured water consumption value (L/m2-yr) of the entire store.
5. Indoor Environment
| 5.1 | Daylighting | 0
| [1] | Use of natural light | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type
| [2] | Daylight devices |  | ←Enter the assessment result (3-5 points)
| 5.2 | Natural ventilation performance | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type
| 5.3 | Perceived space and access to view | 0 | [7 empty] | ←Enter the assessment result (1-5 points) by business type

## Credit
Comprehensive Assessment System for Built Environment Efficiency
CASBEE for Market Promotion Assessment Software
Microsoft Excel 2013
CASBEE-MPe_2014 v.2.1
Published in February 2015
Software development: Japan Sustainable Building Consortium (JSBC)
(Research Committee, Comprehensive Assessment System for Built Environment Efficiency)
Planning and publication: Institute for Building Environment and Energy Conservation (IBEC)
Inquiries concerning software content, etc. :
Inquiries concerning the content of this software should be sent by e-mail only to the address below. A few days may be required before you receive a reply. Please refer to the manuals for Microsoft Windows, Microsoft Excel 2013, and other software for instructions on their use.
Institute for Building Environment and Energy Conservation
2F Zenkyouren Building Kojimachi-kan, 3-5-1 Kojimachi, Chiyoda-ku, Tokyo 102-0083 Japan
E-mail: casbee-info@ibec.or.jp
URL: http://www.ibec.or.jp/
Copyright ©2015 Institute for Building Environment and Energy Conservation (IBEC)
Important Notes(Conditions of Use)
1) Microsoft Excel 2013 is a registered trademark of Microsoft Corporation in the United States of America and other countries.
2) Other company names and product names are trademarks or registered trademarks of the companies concerned.
3) CASBEE for Market Promotion consists of data files that were developed using Microsoft Excel 2013. These data files are protected by copyright law. They may not be duplicated or transferred (even in modified form) without the consent of the developers, authors, planners, and publishers.
4) This restriction does not apply to the use of input data and output results prepared on this software by its users. In such cases, the data concerned should include a statement to the effect that it was prepared using this assessment software. Note that the additional consent of Microsoft Corporation may be required for the use of screen images.
5) We accept no liability for the results of using this software or its instruction manual.
6) The specifications of this software and the contents of the operation manual are subject to change without prior notice.
7) This software was created using Microsoft Excel 2013. We do not guarantee its operation on all computers.